## FGIS-904
U.S. DEPARTMENT OF AGRICULTURE
FEDERAL GRAIN INSPECTION SERVICE
LABORATORY SCALE TEST
Date |  | Field Office |  |  | Agency |  |  | Location
Scale make, model, and serial No.: |  |  |  |  | Capacity x |  | division size (d):
Check mark the Class or Type of use, not both. A marked scale has a roman numeral II or III on the front or the i.d. plate. A marked scale is tested using either
Class II or Class III tolerances, regardless of what it is used for.
Class II |  | Class II |  |  | Class III |  | Class III
| Nunber of Divisions |  | Tol. |  |  | Nunber of Divisions |  | Tol.
| 0-5,000 |  | 1d |  |  | 0-500 |  | 1d
| 5,001-20,000 |  | 2d |  |  | 501-2,000 |  | 2d
| 20,001+ |  | 3d |  |  | 2,001-4,000 |  | 3d
[6 empty] | 4,001+ |  | 5d
An unmarked scale is tested according to each type of its uses: Precision (and separations from work portions ≤ 100 g), Moisture (and separations from
work portions > 100 g), and General (and separations from work portions > 500 g).
| Type | Type |  | d | Test Loads Required |  |  | Tol.
|  | Precision, etc. |  | 0.01 g | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 20, 50, 100 g |  |  | 0.02 g
|  | Moisture, etc. |  | 0.1 | above plus 150, 200, 250, 300, 400 g |  |  | 0.2
|  | General, etc. |  | 1 | above plus 500, 600, 700, 1000, 1500 g |  |  | 1
1. Class F weights used in this exam were last tested on this date (maximum 3 years)
2. Zero balance the scale before the sensitivity test, shift test and increasing load test.
3. Sensitivity Mechanical scales only. At zero, add weight equal to one scale division. The scale indicator should move to the top
of the trig loop (or readings should change by at least one division). Repeat the test at the scale's maximum test load
4. Shift Test Place weight of approx. 1/2 of the maximum test load (applied during the increasing load test) halfway
between the center and the edge of each quadrant. Apply the basic tolerance for the type of scale and test load.
|  |  | Quadrant 1 | Quadrant 2 | Quadrant 3 | Quadrant 4
Reading
5. Increasing Load For marked scales, test at each load from 1 g to 1500 g (or max. capacity) as indicated
below. For unmarked scales test at each load indicated above, for each of the scale's uses. Evaluate the scale according
to the tolerances shown above for the type of scale tested. | [7 empty] | 6. Decreasing Load.
Perform this test while removing
Test Load | Indication | Test Load | Indication | Test Load | Indication | Test Load | Indication | weights from the increasing load test.
1g |  | 7g |  | 100g |  | 500g
2 |  | 8 |  | 150 |  | 600 |  |  | Test Load | Indication
3 |  | 9 |  | 200 |  | 700 |  |  | 400
4 |  | 10 |  | 250 |  | 1000 |  |  | 200
5 |  | 20 |  | 300 |  | 1500 |  |  | 50
6 |  | 50 |  | 400
[9 empty] | Test Load | Indication
7. Balance Change. Record the maximum no-load indication during the above tests. Tolerance is 1d. | [8 empty] | 0
Approved Disapproved |  |  |  |  | Tested by:
Form FGIS-904 (1/18) Previous editions are obsolete. Expires January 2021
FORM APPROVED OMB NO. 0580-0013. According to the Paperwork Reduction Act of 1995, an agency may not conduct or sponsor, and a person is not required to respond to a collection of information unless it displays a valid OMB control number. The valid OMB control number for this information collection is 0580-0013. The time required to complete this information collection is estimated to average 10 minutes per response and 3 seconds of recordkeeping, including the time for reviewing instructions, searching existing data sources, gathering and maintaining the data needed, and completing and reviewing the collection of information.
Before proceeding with this test, review Chapter 2 of the Equipment Handbook. Clean, level, and balance the scale, before starting. Any test weights needed to determine accuracy must have a current Report of Test to Class F tolerances.

## Instructions
Instructins for Completeing FGIS-904
1. Date the test was performed.
2. Field office that performed or supervised the performance of the test.
3. Agency that performed the test, when applicable.
4. Location of the field office or agency that performed the test.
5. Name of the manufacturer, model number, and scale serial number.
6. Maximum rated scale capacity and the minimum scale division size.
7. Indicate with a check mark if the scale is marked with an accuracy class, such as Class II.
8. Indicate with one or more check marks the application of the unmarked scale; precision,
moisture, or general.
9. Record scale indications from the shift test.
10. Increasing Load Test - Test marked scales at each test load indicated up to 1,500 g or
capacity, whichever is less. Test unmarked scales at each test load shown in the table checked off in
item 8, above.
11. Decreasing Load Test - Test marked scales at each load indicated, as appropriate. Test
unmarked scales at approximately ½ the maximum test load used in the increasing load test.
If the scale is mechanical, do not perform the test or complete this portion.
12. Balance Change - Scale indication with zero load at completion of testing must be £ 1 division.
13. Has the scale met all requirements of the pre-test inspection as well as each (all) of the
accuracy tests?
14. Name of the person who performed this test.
Return Form To:
FGIS, Field Management Division
FAX Number (202) 720-1015
Retain in official file.
Any Questions Call: Local FGIS field Office.